Stegen Froze_core  metabolite and lipid extraction followed by Modified FASP

As done by: Carrie Nicora

Sample Prep Request # 4276

As requested by: Carrie Nicora

Reason for experiment:

Soil metabolite and lipid extraction protocol:

- The 2 lyophilized sets are all about 15g each.

- Place soil into yellow 50mL BB tubes

- Add a scoop of each SS, garnet and glass beads

- Add 24mL of 60% MeOH to each and bead beat at speed 8 for 10 minutes at 4C (for the unprocessed sample, the water was measured and calculated into the 60%MeOH solution).

- Pour samples into 3 separate 50mL M/C compatible tubes, use 6mL of 60% MeoH to the yellow capped tube to rinse and pour 2mL into each white capped tube.

- Add 12mL of ice cold chloroform to each tube and probe sonicate at 60% amp for 30 seconds on ice.

- Place in the -80C for ~5minutes and sonicate again as before.

- Spin the tubes at 3,500g for 10 minutes

- Collect the upper metabolite layers from the 3 tubes into 1 large glass vial and completely dry in the speed vac

- Using a large, flat spatula pull the protein interlayer from the 3 tubes into one new labeled 50mL tube

- Collect the

- lipid layers into one white capped tube and store at -80C.

- Add 20mL of ice cold MeOH to the protein sample, vortex, spin and discard the supernatant and lightly dry the protein pellet under N2.

Protein digestion of pellet

- Add 20mL of 4% SDS, 20mM DTT in 100mM Tris-HCL, pH 5

- Sonicate sample into solution at 20% amp for 30 seconds each

- Shake at 40C for 30 minutes upright in mini shaker, 300rpm

- Spin at 4,500g for 15 minutes at room temp and collect supernatant into a 50mL MC compatible tube.

- Adjust the buffer pH to 8 using 50% NaOH and add 5mL to each pellet and sonicate back into solution and vortex.

- Spin at 4,500g for 10 minutes at room temp and collect supernatant into the 50mL MC compatible tube.

- Add 20% TCA to the supernatant and incubate at -20C for ~1-2 hours

- Thaw and spin out protein at 4,500g 15mins 4C.

- Add 1mL of 100% ice cold acetone to TCA pellet and lightly water-bath sonicate into solution and transfer to a 1.5mL tube, use 400ul to rinse and add.

- Centrifuge at 12,000g for 5 minutes at 4C.

- Pour off the supernatant

- Dry inverted on Kim wipe

- Add 50ul of the extraction buffer (4% SDS, 40mM DTT in 100mM Tris-HCL, pH8) to the protein pellets and sonicate into solution.

- Incubate at 95C for 5 minutes with the lids open under the thermos top with shaking at 700rpm, cool and spin out the debris at 15,000g for 5 minutes.

- Remove the supernatant into a 1.5mL tube and snap freeze.

- Store at -80C overnight.

- One spin column each, Add 400ul of 8M urea to each FASP column and add 50ul of the sample

- Spin at 14,000g for 30 minutes to bring the sample all the way to the dead volume.

- Remove the waste from the bottom of the tube (tap off the excess urea onto a Kim wipe). Add 400ul of 8M urea to the column and spin again at 14,000g for 30 minutes.

- Remove the waste and add 400ul of 8M urea to the column and spin as before.

- Add 400ul of ABC to each column and spin for 30 minutes, remove waste

- Add 400ul of ABC to each column and spin for 30 minutes, make sure sample is all the way to dead volume.

- Remove the spin column from the collection tube and lightly clean the bottom with an alcohol wipe, to remove any excess urea from the side or underneath the column.

- Place the column into a new fresh, clean and labeled collection tube.

- Make 75 μL Digestion Solution by dissolving 4μg trypsin in 75 μL 50mM Ammonium Bicarbonate Solution provided with the FASP Kit to a final concentration of 0.05μg/μL.

- Place each column in a thermomixer with a thermotop for 3hrs at 37C with shaking at 600rpm.

- After 3 hours add 30ul of ABC and spin out the peptides into the collection tube.

- Add 30ul and spin again.

- Remove the spin columns into waste and place a membrane on top of the collection tubes and dry down all the way and add 20ul of H2O.

- No SPE

- BCA

- Vialed for Orbi

| Sample Dilution Helper |  |  |  |  |
| --- | --- | --- | --- | --- |
| Target Concentration (ug/uL) |  |  | 0.50 |  |
| Target Volume (uL) |  |  | 20.0 |  |
| Making Dilutions |  |  |  |  |
| Sample | Current Conc (ug/uL) | Volume Sample (uL) | Volume Diluent (uL) | New Conc (ug/uL) |
| Lyoph RT 1 | 2.36 | 4.2 | 15.8 | 0.50 |
| Lyoph RT 2 | 1.89 | 5.3 | 14.7 | 0.50 |
| Lyoph RT 3 | 2.7 | 3.7 | 16.3 | 0.50 |
| Lyoph F 1 | 2.1 | 4.8 | 15.2 | 0.50 |
| Lyoph F 2 | 2.25 | 4.4 | 15.6 | 0.50 |
| Lyoph F 3 | 1.78 | 5.6 | 14.4 | 0.50 |
| Spin F 1 | 1.52 | 6.6 | 13.4 | 0.50 |
| Spin F 2 | 1.98 | 5.1 | 14.9 | 0.50 |
| Spin F 3 | 1.38 | 7.2 | 12.8 | 0.50 |
| unprocess 1 | 1.36 | 7.4 | 12.6 | 0.50 |
| unprocess 2 | 1.94 | 5.2 | 14.8 | 0.50 |
| unprocess 3 | 1.44 | 6.9 | 13.1 | 0.50 |

| Name | Conc/Dil | 562 | [Concentration] | Final Concentration | Mass (20ul) |
| --- | --- | --- | --- | --- | --- |
|  |  | 0.069 | <0.000 | #VALUE! |  |
| Lyoph RT 1 | 10 | 0.156 | 0.236 | 2.36 | 47.2 |
| Lyoph RT 2 | 10 | 0.139 | 0.189 | 1.89 | 37.8 |
| Lyoph RT 3 | 10 | 0.169 | 0.27 | 2.7 | 54 |
| Lyoph F 1 | 10 | 0.147 | 0.21 | 2.1 | 42 |
| Lyoph F 2 | 10 | 0.152 | 0.225 | 2.25 | 45 |
| Lyoph F 3 | 10 | 0.135 | 0.178 | 1.78 | 35.6 |
| Spin F 1 | 10 | 0.125 | 0.152 | 1.52 | 30.4 |
| Spin F 2 | 10 | 0.142 | 0.198 | 1.98 | 39.6 |
| Spin F 3 | 10 | 0.12 | 0.138 | 1.38 | 27.6 |
| unprocess 1 | 10 | 0.12 | 0.136 | 1.36 | 27.2 |
| unprocess 2 | 10 | 0.141 | 0.194 | 1.94 | 38.8 |
| unprocess 3 | 10 | 0.123 | 0.144 | 1.44 | 28.8 |